## Slide 1: Sideband Deconvolution

## Slide 2: Outline
What is sideband deconvolution and why it is necessary for HIFI data?
General description of the algorithm
Implementation within HIPE
Workflow for spectral scans
Notes: Emphasis the why and the how.

## Slide 3: Heterodyne observations
Detectors are not able to directly measure flux at the frequencies of interest. But by mixing the signal from the sky with a local oscillator, we `downconvert’ the frequency.
cos(ω)cos(νLO)=0.5[ cos(ω-νLO) + cos(ω+νLO) ]
When ω is the entire, unfiltered sky frequency, you end up being sensitive to TWO bandpasses. (cos(ν) = cos(-ν))

## Slide 4: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 5: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 6: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 7: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 8: Heterodyne observations
What is being measured ->
How it looks when collected->
LSB
USB
νLO
IF
Sky frequency

## Slide 9: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 10: Heterodyne observations
What is being measured ->
How it looks when collected->
LSB
USB
νLO
IF
Sky frequency

## Slide 11: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 12: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 13: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 14: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 15: Heterodyne observations
LSB
USB
νLO
What is being measured ->
How it looks when collected->
IF
Sky frequency

## Slide 16: Heterodyne observations
LSB + USB = DSB
Lower sideband spectrum is reversed and added
Two frequency scales result in the DSB result
The lines may blend but they can be recovered (deconvolved)
The continuum levels add (double) in the DSB
The continuum slope is flattened but may be recovered (deconvolved)
The noise adds in quadrature , increasing as sqrt(2)
LO

## Slide 17: Sideband Deconvolution
The problem is the following: Given a collection of double sideband data taken over several LO tunings, how do we recover the original ‘sky’ spectrum?
Comito & Schilke (2002) provide an algorithm which has been successfully employed with ground based heterodynes.
Has been implemented in CLASS + X-CLASS (Fortran based) but was converted to JAVA for use within HIPE. Upgrades to the algorithm have been almost exclusively within HIPE.
Notes: Emphasis the why and the how.

## Slide 18: Deconvolution Algorithm
Start with a guess of the answer – a model with no assumptions for the SSB spectrum – flat
"Observe it" – using knowledge of the instrument
compare the observations of the model with the real observations
compute a chi square and a delta (differential) chi-square
each model "spectral channel" was in part responsible for some of the chi square change
follow the slope of the chi square downward (it's partial derivitive w.r.t. the channel flux (and optionally the sideband gain)
new downward steps always move at right angles to previous ones in the Conjugate Gradient Method
Stop, when solution converges asymptotically, as defined by the "tolerance"
It’s iterative
Notes: Emphasis the why and the how.

## Slide 19: Example: Iteration 0
Notes: Emphasis the why and the how.

## Slide 20: Example: Iteration 1
Notes: Emphasis the why and the how.

## Slide 21: Example: Iteration 2
Notes: Emphasis the why and the how.

## Slide 22: Example: Iteration 3
Notes: Emphasis the why and the how.

## Slide 23: Example: Iteration 4
Notes: Emphasis the why and the how.

## Slide 24: Example: Iteration 5
Notes: Emphasis the why and the how.

## Slide 25: Example: Iteration 6
Notes: Emphasis the why and the how.

## Slide 26: Example: Iteration 7
Notes: Emphasis the why and the how.

## Slide 27: Example: Iteration 8
Notes: Emphasis the why and the how.

## Slide 28: Example: Iteration 9
Notes: Emphasis the why and the how.

## Slide 29: doDeconvolution caveats
Iteration requires that the data make sense.
  Sufficient redundancy (~100% of the time)
  No spurs
  Compatible baselines
  No (or well behaved) standing waves
Most work is done before deconvolution
Notes: Emphasis the why and the how.

## Slide 30: Decon GUI
Some features not recommended at all (may be deprecated in a later release)
Some features not used very often

## Slide 31: Demos
Basic deconvolution
How unflagged spurs affect decon output
Carefully flagging bad data improves result
The diagnostic mode (advanced)
Ghosts and ‘Bright Lines’